## Option_descriptions
Name | Option Descriptions
3L5 | LF-RF Network Analyzer, 5 Hz to 3 GHz, 50 ohm S-parameter test set, gain-phase test port and DC bias source
1E5 | High Stability Time Base
020 | Standard Storage
722 | GPIB Not Required
732 | Handler I/O Not Required
005 | Impedance Analysis for LF-RF VNA
4M2 | 4-port test set, 100 kHz to 32 GHz with second source
096 | Spectrum analysis hardware, 100 kHz to 32 GHz
080 | Frequency Offset Mode (FOM)
083 | Frequency Converter Application (FCA)
086 | Gain Compression Application (GCA)
090 | Spectrum Analysis Application